## ShippingList
Project | Part shipment No | Package No | Completion note No | Suppliers package No | Description 1 | Description 2 | Type of packaging | Gross kg | Net kg | Length cm | Width cm | Height cm | CNS | KKS | Plant part | Incoterm | Place of delivery | Pickup place | Storage location
Polo | 2323 | S-2323-0001-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-1 | Desviador Pos 1-2-3 Perfiles inferiores | Diverter Pos 1-2-3 Bottom sections | Skid | 16570 | 14760.12 | 860 | 440 | 400 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0002-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-9 | Chapa obturador Parte superior e inferior | Blanking Plate Top & Bottom | Skid | 13314 | 13013.65 | 790 | 420 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0003-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-11 | Desviador manejar sistema-L | Diverter drive system-L | Wooden box | 3933 | 3595.28 | 460 | 200 | 120 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0004-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-12 | Desviador manejar sistema-R | Diverter drive system-R | Wooden box | 3732 | 3576.96 | 460 | 200 | 120 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0005-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-13 | Aislamiento de ensamblaje la palanca | Toggle Insulation Assembly | Skid | 4500 | 3760.27 | 980 | 320 | 260 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0006-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-14 | Aislamiento Desviador & Chapa obturador | Insulation for Diverter & Blanking Plate | Skid | 2554 | 1554.32 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2323 | S-2323-0007-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-15 | Desviador | Diverter & BP Field parts and insulation | Skid | 9889 | 6759.38 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2323 | S-2323-0008-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-16 | Conducto de transición inferior Ensamblaje 1-2-3-4 | Lower Transition Duct Asm 1-2-3-4 | Skid | 20071 | 17920.5 | 910 | 280 | 440 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0009-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-17 | Conducto Silenciador Inferior Nivel inferior Ensamblaje 2-5 | Lower Silencer Duct Bottom level Asm 2-5 | Skid | 14216 | 12526.34 | 1080 | 320 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0010-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-18 | Conducto Silenciador Inferior Nivel inferior Ensamblaje 3-4 | Lower Silencer Duct Bottom level Asm 3-4 | Skid | 10482 | 8792.36 | 840 | 310 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0011-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-19 | Conducto Silenciador Inferior Nivel superior Ensamblaje 2-5 | Lower Silencer Duct Top Level Asm 2-5 | Skid | 12445 | 10754.68 | 1080 | 320 | 330 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0012-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-2 | Desviador Pos 4-5 Secciones centrales izquierdas | Diverter Pos 4-5 Left middle sections | Skid | 7790 | 7341.77 | 910 | 210 | 260 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0013-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-20 | Conducto Silenciador Inferior Nivel superior Ensamblaje 3-4 | Lower Silencer Duct Top Level Asm 3-4 | Skid | 9767 | 8076.98 | 840 | 310 | 330 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0014-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-21 | Conducto Silenciador superior Nivel Inferior Ensamblaje 2-5 | Upper Silecer Duct Bottom Level Asm 2-5 | Skid | 10806 | 9095.6 | 900 | 260 | 320 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0015-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-22 | Conducto Silenciador superior Nivel Inferior Ensamblaje 3-4 | Upper Silecer Duct Bottom Level Asm 3-4 | Skid | 7964 | 6254.22 | 840 | 260 | 320 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0016-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-23 | Conducto Silenciador superior Nivel superior Ensamblaje 2-5 | Upper Silecer Duct Top Level Asm 2-5 | Skid | 9605 | 7894.56 | 890 | 260 | 350 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0017-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-24 | Conducto Silenciador superior Nivel superior Ensamblaje 3-4 | Upper Silecer Duct Top Level Asm 3-4 | Skid | 7999 | 6308.5 | 840 | 300 | 330 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0018-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-25 | Conducto de transición superior Ensamblaje A-C | Upper Transition Duct Ass A-C | Skid | 9883 | 8552.8 | 900 | 310 | 380 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0019-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-26 | Conducto de transición superior Ensamblaje B-D | Upper Transition Duct Ass B-D | Skid | 9820 | 8490.4 | 900 | 310 | 380 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0020-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-27 | Latas inferiores de la pila Ensamblaje 5-6-7-8 | Lower Stack Cans Ass 5-6-7-8 | Skid | 13435 | 11384.75 | 680 | 340 | 260 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0021-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-28 | Latas inferiores de la pila Ensamblaje 1-2-3-4 | Lower Stack Cans Ass 1-2-3-4 | Skid | 13368 | 11317.72 | 680 | 340 | 260 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0022-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-29 | Latas superior de la pila Ensamblaje 5-6-7-8 | Upper Stack Cans Ass 5-6-7-8 | Skid | 12850 | 10698.71 | 680 | 340 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0023-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-3 | Desviador Pos 10-11 Secciones medias derecha | Diverter Pos 10-11 Right middle sections | Skid | 7856 | 7405.82 | 910 | 210 | 260 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0024-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-30 | Latas superior de la pila Ensamblaje 1-2-3-4 | Upper Stack Cans Ass 1-2-3-4 | Skid | 12850 | 10699.48 | 680 | 340 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0025-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-31 | Ductos de pila de piezas de campo y hardware | Stack Ducts field parts and hardware | Skid | 9681 | 8307.11 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0026-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-32 | Ductos de pila de piezas de campo | Stack Ducts Field Insulation | Skid | 2639 | 1638.9 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2323 | S-2323-0027-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-33 | Ductos de pila de piezas de campo | Stack Ducts Field Insulation | Skid | 2625 | 1625.2 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2323 | S-2323-0028-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-34 | Ductos de pila de piezas de campo | Stack Ducts Field Insulation | Skid | 2483 | 1482.6 | 560 | 220 | 210 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0029-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-35 | Plataforma y barandilla y escalera y rejas y vigas | Paltform & Handrail & Ladder & Grating & Beams | Skid | 18539 | 17088.71 | 1500 | 240 | 200 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0030-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-36 | Plataforma y barandilla y escalera y rejas | Paltform & Handrail & Ladder & Grating | Skid | 10497 | 6920.78 | 900 | 240 | 200 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0031-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-37 | Plataforma y barandilla y escalera y rejas | Paltform & Handrail & Ladder & Grating | Skid | 9963 | 8962.87 | 900 | 240 | 200 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0032-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-38 | Columna de estructura de soporte principal A01 | Main Support Structure Column A01 | Skid | 2755 | 2604.91 | 1500 | 110 | 110 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0033-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-39 | Columna de estructura de soporte principal A02 | Main Support Structure Column A02 | Skid | 2755 | 2604.91 | 1500 | 110 | 110 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0034-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-4 | Desviador Pos 6-9 Esquinas superiores | Diverter Pos 6-9 Upper corners | Skid | 17449 | 16798.79 | 870 | 430 | 320 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0035-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-40 | Columna de estructura de soporte principal A03 | Main Support Structure Column A03 | Skid | 2755 | 2604.91 | 1500 | 110 | 110 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0036-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-41 | Columna de estructura de soporte principal A04 | Main Support Structure Column A04 | Skid | 2755 | 2604.91 | 1500 | 110 | 110 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0037-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-42 | Estructura de soporte Vigas y escalera | Support Structure Beams & Ladder | Skid | 16720 | 15470.25 | 1250 | 240 | 180 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0038-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-43 | Estructura de soporte Vigas y escalera | Support Structure Beams & Ladder | Skid | 16588 | 15338.58 | 1250 | 240 | 180 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0039-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-44 | Estructura de soporte Vigas y escalera | Support Structure Beams & Ladder | Skid | 16743 | 15493.57 | 1250 | 240 | 180 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0040-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-5 | Desviador Pos 7-8 Secciones centrales superiores | Diverter Pos 7-8 Upper middle sections | Skid | 5474 | 4903.7 | 410 | 260 | 320 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0041-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-6 | Chapa obturador | Blanking Plate Blade | Skid | 7381 | 5430.84 | 720 | 370 | 140 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0042-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-7 | desviador Chapa | Diverter Blade | Skid | 12670 | 9000.11 | 700 | 360 | 280 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0043-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-8 | Chapa ciega | Blind Plate | Skid | 5133 | 3883 | 750 | 410 | 80 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2323 | S-2323-0044-A-23-3571-00263591-N | 11744-1000-23 | 11744-1000-10 | Chapa obturador Pared izquierda y derecha | Blanking Plate Left & Right wall | Skid | 6621 | 6321.04 | 480 | 240 | 310 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2324 | S-2324-0001-B-23-3571-00263591-N | 11744-2301 | 11744-2301-01 | Piezo del Difusor | Diffusor parts | Crate | 20180 | 17830.2 | 1265 | 300 | 280 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2324 | S-2324-0002-C-23-3571-00263591-N | 11744-2301 | 11744-2301-04 | Piezo Del Difusor | Diffusor parts | Package | 9810 | 8279.5 | 740 | 230 | 220 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2324 | S-2324-0003-C-23-3571-00263591-N | 11744-2301 | 11744-2301-03 | Piezo del Difusor | Diffusor parts | Package | 1955 | 1145.5 | 410 | 230 | 220 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2324 | S-2324-0004-B-23-3571-00263591-N | 11744-2301 | 11744-2301-02 | Piezo del Difusor | Diffusor parts | Crate | 19778 | 17428.4 | 1265 | 300 | 280 | 3571 | 23MBR305 | Stack+Diffusor+Diverter | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0001-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_1 | Estructura de soporte Pos.70-01 | Supporting structure Pos.70-01 | Skid | 12630 | 11100.3 | 1186 | 220 | 238 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0002-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_9 | Cubierta de madera Pos.71-11 | Weather hood Pos.71-11 | Skid | 2612 | 1611.93 | 366 | 381 | 288 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0003-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_11 | Cubierta de madera Pos.71-11 | Weather hood Pos.71-11 | Skid | 3331 | 2831.45 | 332 | 139 | 111 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0004-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_12 | Protección del eje Pos. 72-09 | Shaft protection Pos. 72-09 | Skid | 2252 | 1401.16 | 340 | 241 | 167 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0005-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_13 | Plataformas y la carcasa del filtro de escalera Pos. 70-02 | Platforms and Ladder Filter House Pos.70-02 | Skid | 3514 | 2343 | 521 | 257 | 236 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0006-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_14 | Escalera para la carcasa de filtrado +0,00m Pos. 70-10 | Ladder for Filter House +0,00m Pos. 70-10 | Skid | 3397 | 2756.9 | 749 | 257 | 236 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0007-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_15 | 'Módulos de filtrado Pos.71-01 completo Plataforma y aleta de escalera Pos. 70-03 Protección de sonido del compensador Pos.72-16' | 'Filter Modules Pos.71-01 complete Platform and Ladder Flap Pos. 70-03 Compensator Sound Protection Pos.72-16' | Skid | 7304 | 5083.3 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0008-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_16 | 'Módulos de filtrado Pos.71-01 completo Plenum Pos.71-15' | 'Filter Modules Pos.71-01 complete Plenum Pos.71-15' | Skid | 6807 | 5116.47 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0009-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_17 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 6852 | 4575.17 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0010-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_18 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 6301 | 4575.17 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0011-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_19 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 6852 | 4624.33 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0012-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_2 | Estructura de soporte Pos.70-01 | Supporting structure Pos.70-01 | Skid | 12820 | 11298.1 | 1031 | 262 | 238 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0013-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_20 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 6301 | 4624.33 | 1155 | 290 | 388 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0014-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_21 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 8003 | 5726.87 | 1155 | 290 | 398 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0015-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_22 | Módulos de filtrado Pos.71-01 completo | Filter Modules Pos.71-01 complete | Skid | 7447 | 5770.85 | 1155 | 290 | 398 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0016-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_23 | Plenum Pos.71-15 | Plenum Pos.71-15 | Skid | 10344 | 8194.28 | 728 | 467 | 328 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0017-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_24 | Plenum Pos.71-15 | Plenum Pos.71-15 | Skid | 11697 | 9827.09 | 974 | 300 | 334 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0018-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_25 | Plenum Pos.71-15 | Plenum Pos.71-15 | Skid | 6741 | 2874.02 | 1284 | 401 | 300 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0019-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_26 | Conducto de salida de aire Pos. 72-01 | Air Outlet Duct Pos. 72-01 | Skid | 6408 | 5692 | 991 | 230 | 350 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0020-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_27 | 'Conducto de salida de aire Pos. 72-01 Cono de entrada exterior 72-02 Tira de apriete Pos.72-19' | 'Air Outlet Duct Pos. 72-01 Outer intake cone 72-02 Tightening strip Pos.72-19' | Skid | 9741 | 8402.15 | 1010 | 231 | 397 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0021-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_28 | Pieza intermedia | ' Intermidiate piece72-04' | Skid | 3183 | 2720.15 | 1030 | 240 | 170 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0022-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_29 | Conducto de aleta Pos.72-03 | Flap duct Pos.72-03 | Skid | 6392 | 5811 | 1088 | 267 | 260 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0023-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_3 | Estructura de soporte Pos.70-01 | Supporting structure Pos.70-01 | Skid | 12850 | 11367.9 | 764 | 262 | 238 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0024-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_30 | Cono de entrada de aire Pos.72-06 | Air intake cone Pos.72-06 | Skid | 3983 | 2986.43 | 413 | 392 | 236 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0025-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_31 | Silenciador Pos.72-10 | Silencer Pos.72-10 | Skid | 15420 | 12724.16 | 1022 | 366 | 175 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0026-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_32 | Escalera y piezas pequeñas | Ladder and small parts | Skid | 3219 | 2179.51 | 1150 | 212 | 192 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0027-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_4 | Acodado Pos.72-11 | Eblow Pos.72-11 | Skid | 6242 | 5642 | 1006 | 295 | 295 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0028-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_5 | Acodado Pos.72-11 | Eblow Pos.72-11 | Skid | 4872 | 4272 | 1035 | 305 | 274 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor
Polo | 2329 | S-2329-0029-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_6 | Acodado Pos.72-11 | Eblow Pos.72-11 | Skid | 4679 | 4079 | 1035 | 260 | 287 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0030-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_7 | Pieza de transición Pos.72-05 | Transition piece Pos.72-05 | Skid | 5919 | 5331 | 1013 | 240 | 270 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0031-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_8 | Cubierta de madera Pos.71-11 | Weather hood Pos.71-11 | Skid | 2674 | 1674.41 | 367 | 381 | 288 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | outdoor
Polo | 2329 | S-2329-0032-A-23-3551-00234961-N | 5000165 Unit_2 steel parts China | 5000165_U2_10 | Cubierta de madera Pos.71-11 | Weather hood Pos.71-11 | Skid | 2849 | 2348.7 | 326 | 139 | 143 | 3551 | 23MBL304 | AIR INTAKE SYSTEM | FCA | Port of Export | Hamburg / C. Steinweg | indoor